1. Change of device ID to Device-Test\_001.
2. Solar Voltage, Battery Voltage, Pipe line voltage unit as V and Battery percentage as %.
3. When PLV is -999 then in dashboard it is not connected.
4. Last reporting date and time.
5. Range for PLV: -2V to +2V.
6. Range for Battery Voltage: 3 to 4.2V.